IEEE 13
- 13 nodes
- 15 groups of 20 houses
  611 (1), 634 (3), 645 (2), 646 (2),
  652 (1), 675 (3), 692 (3)
- Identical houses, identical PV
- Constant production of PV (no climate)
- Switch between 671 and 692 closed
- Tests for different PV percentages
  (0, 20, 40, 60, 80, 100)

---
1. Normal operation: constant production, constant consumption
Parameter order (synchronization between the phases):
still equal to 1 for all percentages
→ all the nodes are
synchronized in phases
(PLL?)

---
1. Normal operation: constant production, constant consumption
Frequency:
0%PV	20%PV	40%PV
60%PV	80%PV	100%PV

---
1. Normal operation: constant production, constant consumption
Frequency:
frequency increases as the number of PV increases
→ PV tends to make the system instable
(frequency out of the acceptable interval in reality)
one node is not synchronized in frequency (652)

---
2. Change in the power flow
- One capacitor tuned on at t = 300s
  → production of reactive power
- Capacitor linked to node 675

---
1. Change in the power flow
Parameter order (synchronization between the phases):
still equal to 1 for all percentages
→ all the nodes are
synchronized in phases
(PLL?)

---
2. Change in the power flow
Frequency:
0%PV	20%PV	40%PV
60%PV	80%PV	100%PV

---
Questions
- How to explain that the phases are synchronized but one node has a different frequency?
- How to explain that the phases are synchronized but one node has a different frequency?
- Simulations operated with PLL frequency measurement → try with SIMPLE?
- Simulations on a larger grid (IEEE123):
  different architecture (meshed)
  → different behavior?